## Sheet1
Location | Type | Serial # | Description | Cal. Date | Cal. due Date | Comment | Owner
QC Lab | Thermometer | 210152050 | Ultra-Low Temperature WIFI Data Logger | 2023-11-16 | 2024-11-30 |  | Andy
QC Lab | Thermometer | 210151995 | Ultra-Low Temperature WIFI Data Logger | 2023-11-16 | 2024-11-30 |  | Andy
QC Lab | Thermometer | 210152045 | Ultra-Low Temperature WIFI Data Logger | 2023-11-16 | 2024-11-30 |  | Andy
QC Lab | Thermometer | 210152019 | Ultra-Low Temperature WIFI Data Logger | 2023-11-16 | 2024-11-30 |  | Andy
QC Lab | Thermometer | 210152052 | Ultra-Low Temperature WIFI Data Logger | 2023-11-16 | 2024-11-30 |  | Andy
QC Lab | Thermometer | 210151988 | Ultra-Low Temperature WIFI Data Logger | 2023-11-16 | 2024-11-30 |  | Andy
QC Lab | Thermometer | 210152053 | Ultra-Low Temperature WIFI Data Logger | 2023-11-16 | 2024-11-30 |  | Andy
QC Lab | Thermometer | 210152049 | Ultra-Low Temperature WIFI Data Logger | 2023-11-16 | 2024-11-30 |  | Andy
QC Lab | Thermometer | 210151998 | Ultra-Low Temperature WIFI Data Logger | 2023-12-04 | 2024-12-31 |  | Andy
RM 138 | Caliper | 211091822 | Digital Caliper |  | 2023-12-22 |  | David R.
RM 114 | Caliper | 2400341115 | Digital Caliper | 2024-01-10 | 2026-01-10
RM 111 | Thermometer | 200273149 | TraceableLive WIFI Thermometer (STB-4) | 2022-03-28 | 2023-03-28
RM 119 | Thermometer | 200540751 | TraceableLive WIFI Thermometer (STB-5) | 2022-03-29 | 2023-03-29
RM 119 | Thermometer | 200540747 | TraceableLive WIFI Thermometer (STB-6/STB-7) | 2022-03-30 | 2023-03-30
RM 119 | Thermometer | 200540753 | TraceableLive WIFI Thermometer (STB-9) | 2022-03-31 | 2023-03-31
RM 119 | Thermometer | 200540767 | TraceableLive WIFI Thermometer (STB-8) | 2022-04-01 | 2023-04-01
RM 111 | Hygrometer | 200383924 | TraceableLive WIFI Hygrometer (STB-1) | 2022-04-02 | 2023-04-02
RM 114 | Hygrometer | 200383927 | TraceableLive WIFI Hygrometer | 2023-11-16 | 2024-11-30
RM 114 | Hygrometer | 211076196 | TraceableLive WIFI Hygrometer | 2023-09-18 | 2024-09-30
RM 114 | Hygrometer | 200286762 | TraceableLive WIFI Hygrometer (Finish Product RM) | 2022-04-05 | 2023-04-05
RM 108 | Hygrometer | 200286759 | TraceableLive WIFI Hygrometer (Raw Material RM) | 2023-09-18 | 2024-09-30
RM 119 | Thermometer | 221647563 | TraceableLive WIFI Thermometer (STB-10) | 2023-07-13 | 2024-07-13
RM 111 | Hygrometer | 221624480 | TraceableLive WIFI Hygrometer (STB-2) | 2023-06-30 | 2024-06-30
RM 115 | Hygrometer | 230541092 | TraceableLive WIFI Hygrometer (STB-) | 2023-08-11 | 2025-08-11
RM 111 | Hygrometer | 230725485 | TraceableLive WIFI Hygrometer (STB-4) | 2023-10-30 | 2025-10-30
RM 114 | Hygrometer | 230456693 | TraceableLive WIFI Hygrometer | 2023-07-10 | 2025-07-10
RM 114 | Hygrometer | 230541099 | TraceableLive WIFI Hygrometer | 2023-08-11 | 2025-08-11
RM 114 | Hygrometer | 230541086 | TraceableLive WIFI Hygrometer | 2023-08-11 | 2025-08-11
RM 115 | Hygrometer | 230456691 | TraceableLive WIFI Hygrometer (STB-12) | 2023-07-10 | 2025-07-10
RM 138 | Flowmeter | 48600 | Flow Meter | 2021-09-30 | 2022-09-30 |  | David R.
RM 155 | Force Gauge | 1050113204585 | Force Meter (50N) |  | 2022-04-30 |  | David R.
RM 138 | Force Gauge | 1500150614275 | Force Meter (500N) |  | 2016-06-13 |  | David R.
RM 138 | Hygrometer | 98766-54 | Humidity / Temperature Pen | 2023-11-16 | 2024-11-16 |  | David R.
RM 114 | Manometer | 210578983 | Manometer | 2022-06-08 | 2023-07-08 |  | David R.
QC Lab | Gauge | 17081611003 | Digital Pressure Gauge | 2022-09-01 | 2023-09-30 |  | David R.
RM138 | Weight | B553919855 | 100g Weight | 2022-05-23 | 2023-12-23 |  | David R.
RM138 | Weight | 1000225124 | 100g Weight | 2023-11-15 | 2024-11-15 |  | David R.
RM 114 | Weight | 30402661 | 100g Weight | 2023-12-28 | 2024-12-28
RM 114 | Weight | 1000242369 | 100g Weight | 2024-02-01 | 2025-02-01
RM 138 | Weight | 8ZCE | 100 mg | 2022-02-16 | 2023-02-16 |  | David R.
RM 138 | Weight | B553919854 | 10 gram | 2022-02-16 | 2023-02-16 |  | David R.
RM 138 | Weight | 8ZCF | 1 gram Weight | 2023-11-16 | 2024-11-16 |  | David R.
RM 139 | Weight | 1000242408 | 1 gram Weight | 2024-02-01 | 2025-02-01 |  | AK
RM 138 | Gauge | 2003100612 | Pressure Gauge (300psi) | 2023-03-24 | 2024-03-31 |  | David R.
RM114 | Weight | 2491 | 2 kg Weight |  |  |  | Andy
RM 145 | Balance
RM 119 | Autoclave | 2203267 | Tuttnauer 3870 Autoclave | 2023-02-21 | 2024-02-21 |  | Carl P.
RM 138 | Gauge | 200480414 | Pressure Gauge (30psi) | 2023-03-24 | 2024-03-31 |  | David R.
RM 114 | Weight | 1000241593 | 5-Kg Weight Standard | 2024-02-05 | 2025-02-05 |  | Carl P.
RM155 | Floor Scale | AE63603602 | Floor Scale with load cell | 2023-08-02 | 2024-08-31 |  | Andy K.
RM 145 | Biological Safey Cabinet | 70657ADZ | Class II Type A/B3 | 2023-07-18 | 2024-07-31
MFG-2 | Comil | U3-0020 | Quandro Comil U3 Underdriven |  |  |  | Joshua D.
MFG RM 1; RM 146 | Capsule Filler | M/1242 | Vortex Capsule Filler |  |  |  | Joshua D.
MFG RM 1; RM 147 | Capsule Filler | M/242 S/2 | Size 2 Tray |  |  |  | Joshua D.
MFG RM 1; RM 148 | Capsule Filler | M/242 S/00 | Size 00 Tray |  |  |  | Joshua D.
MFG-1 | Eye Drop Machine | SDM3407 | Eye Drop Filling, Stoppering and Capping Machine |  |  |  | Andy K.
MFG-1 | pH Meter | 3027967 | pH Meter |  |  |  | Jeremy J.
MFG-2 | Capsule Filling Machine | 22120073 | CapsulCN Semi-Automatic Capsule filler |  |  |  | Damian M
QC Lab | Balance | M66081 | Top Loading Balance | 2024-01-31 | 2025-01-31 |  | AK
QC Lab | Balance | 2113035375 | Top Loading Balance
MFG-2 | Tablet Press | K0000076 | Single Punch Tablet Punch |  |  |  | Joshua D.
RM 146 | V-Blender | 01314 | V-Blender |  |  |  | Joshua D.
RM 146 | V-Blender | 1742 S10 2Q | 2-Quart V-Blender Chamber |  |  |  | Joshua D.
RM 146 | V-Blender | 1743 S11 4Q | 4-Quart V-Blender Chamber |  |  |  | Joshua D.
RM 146 | V-Blender | 1744 S12 8Q | 8-Quart V-Blender Chamber |  |  |  | Joshua D.
RM 119 | V-blender | 22120073 | V-blender
RM 119 | V-blender | 071985868 | MAXIBLEND V-blender
QC Lab | Weight Sorter Tablet/Capsule | PS 596 | SADE SP | 2023-03-21 | 2024-03-31 |  | Andy K.
RM 138 | Light Meter | 200901686 | Data Logging Light Meter | 2023-06-08 | 2024-06-08 |  | David R.
RM 138 | Weight | B553919852 | 100 mg | 2022-02-16 | 2022-04-30 |  | David R.
RM 138 | Weight | B553919852 | 100mg Weight | 2023-06-23 | 2024-06-23 |  | Neha S.
RM 114 | Weight | 1000240080 | 100mg Weight | 2024-01-05 | 2025-01-05
QC Lab | Weight | B553919851 | 10mg Weight | 2023-06-14 | 2024-06-30 |  | Andy K.
QC Lab | Weight | 1000234550 | 10mg Weight | 2023-11-15 | 2024-11-15 |  | Andy K.
QC Lab | Weight | 1000229556 | 10mg Weight | 2023-12-19 | 2024-12-19 |  | Andy K.
QC Lab | Weight | 8P9M | 25Kg |  | 2022-06-01
RM 138 | Weight | B553919853 | 2 mg | 2022-02-16 | 2023-02-16 |  | David R.
RM 114 | Weight | 9HN1 | 5Kg Weight | 2023-11-15 | 2024-11-15 |  | David R.
RM 114 | Weight | 8VWN | 5Kg Weight | 2023-11-15 | 2024-11-15
QC Lab | Accusizer | 9911707 | Accusizer
QC Lab | Accusizer | 9911912 | Accusizer
QC Lab | Balance | 1121240974 | Analytical Balance | 2022-11-30 | 2023-11-30 |  | Neha S.
QC Lab | Balance | L78888 | Top Loading Balance
QC Lab | Balance | 1119251449 | Analytical Balance
QC Lab | Balance | 1121473026 | Analytical Balance | 2023-12-29 | 2024-12-31 |  | AK
QC Lab | Balance | 1116511042 | Analytical Balance | 2024-02-12 | 2025-02-12
RM 119 | Tablet Hardness Tester | 4021 | Tablet Hardness Tester
RM 119 | Friability Tester | 53715 | Friability Tester
QC Lab | Biological Safey Cabinet | 70370816 | Purifier Class II | 2022-03-22 | 2023-03-22
QC Lab | CCIT |  | Container Closure Integrity Test Instrument
QC Lab | CCIT | ST/SR 081600007975 | Container Closure Integrity Test Instrument
QC Lab | Scale | 0211/11311075 | Counting and Checkweighing Scale | 2024-01-08 | 2025-01-31
QC Lab | Dissolution | 17-495-0197 | Dissolution System | 2021-09-23 | 2022-09-23
Glassware | DI Water | 1090001208381 | DI Water System
QC Lab | Endotoxin | 21050089 | Sievers Eclipse Reader | 2021-06-30 | 2023-06-28 |  | Carl P.
QC Lab | Oven | 06030318 | Forced Air Oven (PN: 9071306) | 2024-01-08 | 2025-01-31
QC Lab | FTIR | NY20202019 | Agilent FTIR | 2022-05-05 | 2023-05-05
QC Lab | GC | US10530041 | Gas Chromatograph-FID | 2021-01-08 | 2022-01-08
QC Lab | GC | IT00310229 | Gas Chromatograph-FID | 2021-01-08 | 2022-01-08
QC Lab | GC | US93809220 | Gas Chromatograph-FID | 2021-01-08 | 2022-01-08
QC Lab | GC | CN21020348 | Gas Chromatograph-FID | 2021-01-08 | 2022-01-08
QC Lab | HIAC | GL0505 | HIAC
QC Lab | HPLC | JP13204368 | HPLC Agilent 1100 Series | 2021-12-21 | 2022-12-21 |  | Neha S.
QC Lab | HPLC | DE11114999 | HPLC Agilent 1100 Series | 2021-12-21 | 2022-12-21 |  | Neha S.
QC Lab | HPLC | DE33213018 | HPLC Agilent 1100 Series | 2021-12-21 | 2022-12-21 |  | Neha S.
QC Lab | HPLC | DE13208463 | HPLC Agilent 1100 Series | 2021-12-21 | 2022-12-21 |  | Neha S.
QC Lab | HPLC | US72102230 | HPLC Agilent 1100 Series | 2021-12-21 | 2022-12-21 |  | Neha S.
QC Lab | HPLC | DE11112806 | HPLC Agilent 1100 Series | 2021-12-21 | 2022-12-21 |  | Neha S.
QC Lab | HPLC | JP63703902 | HPLC Agilent 1200 Series | 2022-04-18 | 2023-04-18 |  | Neha S.
QC Lab | HPLC | DE60555239 | HPLC Agilent 1200 Series | 2022-04-18 | 2023-04-18 |  | Neha S.
QC Lab | HPLC | DEAAC23550 | HPLC Agilent 1200 Series | 2022-04-18 | 2023-04-18 |  | Neha S.
QC Lab | HPLC | DE60562472 | HPLC Agilent 1200 Series | 2022-04-18 | 2023-04-18 |  | Neha S.
QC Lab | HPLC | DE60557001 | HPLC Agilent 1200 Series | 2022-04-18 | 2023-04-18 |  | Neha S.
QC Lab | HPLC | DE60555208 | HPLC Agilent 1200 Series | 2022-04-18 | 2023-04-18 |  | Neha S.
QC Lab | HPLC | LN00000249 | HPLC Agilent 1200 Series | 2022-04-18 | 2023-04-18 |  | Neha S.
QC Lab | HPLC | CO-0173 | HPLC Agilent 1200 Series | 2022-04-18 | 2023-04-18 |  | Neha S.
QC Lab | HPLC | JP05030345 | HPLC Agilent 1100 Series | 2022-08-12 | 2023-08-12 |  | Neha S.
QC Lab | HPLC | DE23922786 | HPLC Agilent 1100 Series | 2022-08-12 | 2023-08-12 |  | Neha S.
QC Lab | HPLC | DE91604477 | HPLC Agilent 1100 Series | 2022-08-12 | 2023-08-12 |  | Neha S.
QC Lab | HPLC | DE13209894 | HPLC Agilent 1100 Series | 2022-08-12 | 2023-08-12 |  | Neha S.
QC Lab | HPLC | DE91610488 | HPLC Agilent 1100 Series | 2022-08-12 | 2023-08-12 |  | Neha S.
QC Lab | HPLC | DE23917598 | HPLC Agilent 1100 Series | 2022-08-12 | 2023-08-12 |  | Neha S.
QC Lab | HPLC | JP62354290 | HPLC Agilent 1200 Series | 2024-01-24 | 2025-01-24 |  | Neha S.
QC Lab | HPLC | DE60556928 | HPLC Agilent 1200 Series | 2024-01-24 | 2025-01-24
QC Lab | HPLC | DE60557337 | HPLC Agilent 1200 Series | 2024-01-24 | 2025-01-24
QC Lab | HPLC | DE60559416 | HPLC Agilent 1200 Series | 2024-01-24 | 2025-01-24
QC Lab | HPLC | DE60557494 | HPLC Agilent 1200 Series | 2024-01-24 | 2025-01-24
QC Lab | HPLC | DE60555850 | HPLC Agilent 1200 Series | 2024-01-24 | 2025-01-24
QC Lab | Karl Fisher | 5126206996 | Karl Fischer Titrator
QC Lab | Karl Fisher | 1126250582 | Karl Fischer Titrator
QC Lab | Karl Fisher | 5127433970 | Karl Fischer Titrator
QC Lab | Moisture Content | C244198124 | Karl Fischer Titrator | 2023-02-07 | 2023-02-08 |  | Neha S.
QC Lab | Microscope | 115906 | Polarizing Microscope | 2022-10-26 | 2023-10-26 |  | Viet
QC Lab | Mastersizer | MAL1042059 | Malvern Mastersizer
QC Lab | Osmometer | 08050591C | Osmometer
QC Lab | Pipette | N14192C | Air-Displacement Micropipette (1-100 µL) | 2023-06-21 | 2024-06-21
QC Lab | Pipette | BH63494 | Air-Displacement Micropipette (1-100 µL) | 2023-06-21 | 2024-06-21
QC Lab | Pipette | G12113B | Air-Displacement Micropipette (1-200 µL) | 2023-05-26 | 2024-05-26
QC Lab | Pipette | BA57062 | Air-Displacement Micropipette (1-200 µL) | 2023-06-21 | 2024-06-21
QC Lab | Pipette | G16909C | Air-Displacement Micropipette (1-1000 µL) | 2023-12-07 | 2025-05-31
QC Lab | Pipette | BJ55057 | Air-Displacement Micropipette (1-1000 µL) | 2023-06-21 | 2024-05-26
QC Lab | Pipette | C015273607 | Air-Displacement Micropipette (20-200 µL) | 2023-05-26 | 2024-05-26
QC Lab | Pipette | C009053078 | Air-Displacement Micropipette (100-1000 µL) | 2023-05-26 | 2024-05-26
QC Lab | Pipette | C025588054 | Air-Displacement Micropipette (20-300 µL) | 2023-05-26 | 2024-05-26
QC Lab | pH Meter | 021557 | pH Meter
QC Lab | pH Meter | X22249 | pH Meter
RM 114 | Induction Sealer | 181818-1-1 | Super Seal Jr. | 2024-02-02 | 2025-02-02
RM 114 | Induction Sealer | C23129-01 | Super Seal Jr. | 2024-01-23 | 2024-01-23 |  | AK
QC Lab | TOC | 19074528 | Sievers TOC Analyzer | 2024-01-31 | 2025-01-31 |  | Carl P.
QC Lab | Induction Sealer
QC Lab | UPLC | DEAA310659 | UPLC Agilent 1290 Infinity LC | 2022-03-01 | 2023-03-01
QC Lab | UPLC | DEBAC11652 | UPLC Agilent 1290 Infinity LC | 2022-03-01 | 2023-03-01
QC Lab | UPLC | DEBAP07209 | UPLC Agilent 1290 Infinity LC | 2022-03-01 | 2023-03-01
QC Lab | UPLC | DEBAK24889 | UPLC Agilent 1290 Infinity LC | 2022-03-01 | 2023-03-01
QC Lab | UPLC | DEBAA05846 | UPLC Agilent 1290 Infinity LC | 2022-03-01 | 2023-03-01
QC Lab | UV-VIS | 4320475 | UV-Vis | 2023-10-24 | 2024-10-24 |  | Neha S.
QC Lab | Viscometer | 8491615 | Brookfield LVDV-III+ viscometer/ Rheometer
QC Lab | Zetasizer | MAL500732 | Zetsizer Nano Series
Room 111 | Chamber | 162172-3283 | Stability Chamber 40C/75% | 2023-10-18 | 2024-10-31
Room 111 | Chamber | 305485-2138 | Stability Chamber 25C/65% | 2023-10-18 | 2024-10-31
Room 111 | Chamber | 314904-2622 | Stability Chamber 30C/70% | 2023-04-25 | 2024-04-30
Room 111 | Chamber | BSR320020006 | Stability Chamber 2-8C | 2023-10-18 | 2024-10-31
Room 115 | Chamber | BSR318040019 | Stability Chamber 2-8C | 2023-12-29 | 2024-12-31
Room 115 | Chamber | 42407002 | Incubator 30-35C | 2023-10-18 | 2024-10-31
Room 115 | Chamber | 42656268 | Incubator 57.5C | 2023-10-18 | 2024-10-31
Room 115 | Chamber | VWR-7022098-1710 | Stability Chamber -20C | 2023-10-18 | 2024-10-31
Room 115 | Chamber | WB51202089 | Stability Chamber 20-25C | 2023-12-04 | 2024-12-31
Room 115 | Chamber | LRP-WB90143508-1903 | Stability Chamber -20C | 2023-10-18 | 2024-10-31 |  | Andy
Room 115 | Chamber | 23070267500003 | Stability Chamber 25C |  |  |  | Andy
Room 115 | Chamber | 23070267500007 | Stability Chamber 40C/75% |  |  |  | Andy
Room 115 | Chamber | 23070267500006 | Stability Chamber 30C/65% |  |  |  | Andy
Room 115 | Chamber | 23070267500004 | Stability Chamber 25C/60% |  |  |  | Andy
Room 115 | Chamber | 23070267500005 | Stability Chamber 40C/25% |  |  |  | Andy
Room 115 | Chamber | 23070267500002 | Stability Chamber 25C/40% |  |  |  | Andy
RM 157 | HPLC | JP73011954 | Agilent/Hewlett Packard | 2022-06-14 | 2023-06-15 |  | Neha S.
RM 157 | HPLC | DE11112925 | Agilent/Hewlett Packard | 2022-06-14 | 2023-06-15 |  | Neha S.
RM 157 | HPLC | DE91603092 | Agilent/Hewlett Packard | 2022-06-14 | 2023-06-15 |  | Neha S.
RM 157 | HPLC | DE13204868 | Agilent/Hewlett Packard | 2022-06-14 | 2023-06-15 |  | Neha S.
RM 157 | HPLC | DE82207435 | Agilent/Hewlett Packard | 2022-06-14 | 2023-06-15 |  | Neha S.
RM 157 | HPLC | CP-0167 | Agilent/Hewlett Packard | 2022-06-14 | 2023-06-15 |  | Neha S.
RM 157 | HPLC | DE82204548 | Agilent/Hewlett Packard | 2022-06-14 | 2023-06-15 |  | Neha S.
RM 157 | HPLC | CN14090030 | Agilent/Hewlett Packard | 2022-06-14 | 2023-06-15 |  | Neha S.
QC Lab | HPLC | DE33224208 | HPLC Agilent 1100 Series | 2021-06-04 | 2022-06-04 |  | Neha S.
QC Lab | HPLC | DE11107313 | HPLC Agilent 1100 Series | 2021-06-04 | 2022-06-04 |  | Neha S.
QC Lab | HPLC | DE11122112 | HPLC Agilent 1100 Series | 2021-06-04 | 2022-06-04 |  | Neha S.
QC Lab | HPLC | DE91607038 | HPLC Agilent 1100 Series | 2021-06-04 | 2022-06-04 |  | Neha S.
QC Lab | HPLC | DE33224208 | HPLC Agilent 1100 Series | 2022-06-28 | 2022-06-28 |  | Neha S.
QC Lab | HPLC | DE11107313 | HPLC Agilent 1100 Series | 2022-06-28 | 2022-06-28 |  | Neha S.
QC Lab | HPLC | DE11122112 | HPLC Agilent 1100 Series | 2022-06-28 | 2022-06-28 |  | Neha S.
QC Lab | HPLC | DE91607038 | HPLC Agilent 1100 Series | 2022-06-28 | 2022-06-28 |  | Neha S.
RM 138 | RPM | Z341019 | Tachometer | 2023-10-20 | 2024-10-20 |  | David R.
RM 138 | RPM | 201001929 | Tachometer | 2023-10-20 | 2024-10-20 |  | David R.
RM 138 | Thermometer | 210429737 | Thermocouple Meter | 2021-08-27 | 2022-08-27 |  | David R.
RM 138 | Thermometer | 210504260 | Thermocouple Meter |  | 2023-06-15 |  | David R.
RM 114 | Thermometer | 221220319 | Tpe J/K/T Thermocouple Meter | 2023-07-25 | 2024-07-25 |  | aK
RM 114 | Thermometer | 230289776 | Type K Digital Thermometer | 2023-04-25 | 2025-04-25
RM 138 | Chronometer | 210517159 | Stopwatch |  | 2023-06-18 |  | AK
RM 114 | Timer | 221205140 | Four Channel Alarm Timer | 2022-02-01 | 2024-02-01 |  | AK
RM 138 | Gauge | 0258362 | Digital Vacuum Gauge |  | 2022-10-11 |  | David R.
RM 138 | Wobble | M2210201555 | Wobble Meter | 2023-10-24 | 2024-10-24 |  | David R.
RM145 | Particle Counter (Control# 21-76293) | 144048 | 100 LPM Particle Counter | 2021-11-12 | 2022-11-12 |  | AK
RM 138 | Gauge | 4130802584 | Autoclave Gauge | 2022-02-01 | 2023-02-28 |  | David R.
RM 145 | Cleanroom Softwall, ValuLine | 6600-66-VL-0806P1669363 | ISO 7/ISO 8 Transition Area | 2022-02-10 | 2023-02-28
RM 145 | Cleanroom Softwall | 18395-24375 | ISO 7 Formulation & Fill Area | 2022-07-29 | 2023-07-29
RM145 | Particle Counter (Control# 22-81831) | 144053 | 75 LPM Particle Counter | 2022-11-15 | 2023-11-15 |  | AK
RM145 | Air Sampler | 17-D-11859 | 100 LPM Air Sampler | 2023-07-13 | 2024-07-13 |  | aK
RM145 | Air Sampler | 03-CM-02243 | 100 LPM Air Sampler | 2023-10-23 | 2024-10-23 |  | AK
RM145 | Air Sampler | 02-C-02036 | 100 LPM Air Sampler | 2023-11-15 | 2024-11-15 |  | AK
RM 138 | Voltmeter | 0621U-A2 | Voltmeter |  |  |  | David R.
QC Lab | LAF | 070570816 | Laminar Air Flow Cabinet