## ACTIVE
ID_No | Location | Type | Brand / Component | Model # | Serial_No | Description | Calibration by: | Specifications | Cal_Date | Cal_Due_Date | Qualification Frequency | OQ/PQ PM SOP | PM Date | PM Date Next | Comment | Owner | Column2
CAL-1 | RM 114 | Caliper | Traceable | 3417TR | 211091822 | Digital Caliper | ilac-MRA |  | 2021-12-22 | 2023-12-22 | annual | n/a | N/A | N/A | N/A | David R.
CAL-2 | RM 114 | Caliper | Traceable | 97152-18 | 2400341115 | Digital Caliper | ilac-MRA |  | 2024-01-10 | 2026-01-10
CPC-1 | RM145 | Particle Counter | Climet | CI-1055 | 144048 | 100 LPM Particle Counter | Climet |  | 2024-01-31 | 2025-01-31 | annual |  | N/A | N/A | N/A | AK
CPC-2 | RM145 | Particle Counter | Climet | CI-756 | 144053 | 75 LPM Particle Counter | Climet |  | 2023-12-19 | 2024-12-19 | annual |  | N/A | N/A | N/A | AK
CPC-3 | RM 146 | Cleanroom Softwall | Clean Air Products | CI-1052x | 080860 | 100 LPM Particle Counter | Climet |  | 2024-04-04 | 2025-04-04
DL-01 | RM 111 | Thermometer | Traceable | CC6500 | 200273149 | TraceableLive WIFI Thermometer (STB-4) | ilac-MRA |  | 2022-03-28 | 2023-03-28 | annual | LPI-SOP-601 | N/A | N/A | N/A
DL-02 | RM 115 | Thermometer | Traceable | CC6500 | 200540751 | TraceableLive WIFI Thermometer (STB-5) | TSS |  | 2023-11-16 | 2024-11-30 | annual | LPI-SOP-601 | N/A | N/A | N/A
DL-03 | RM 115 | Thermometer | Traceable | CC6500 | 200540747 | TraceableLive WIFI Thermometer (STB-6/STB-7) | TSS |  | 2023-11-16 | 2024-11-30 | annual | LPI-SOP-601 | N/A | N/A | N/A
DL-04 | RM 115 | Thermometer | Traceable | CC6500 | 200540753 | TraceableLive WIFI Thermometer (STB-11) | TSS |  | 2023-11-16 | 2024-11-30 | annual | LPI-SOP-601 | N/A | N/A | N/A
DL-05 | RM 115 | Thermometer | Traceable | CC6500 | 200540767 | TraceableLive WIFI Thermometer (STB-8) | TSS |  | 2023-11-16 | 2024-11-30 | annual | LPI-SOP-601 | N/A | N/A | N/A
DL-06 | RM 115 | Hygrometer | Traceable | CC6521 | 200383924 | TraceableLive WIFI Hygrometer (STB-12) | TSS | Moved from STB-1 to STB-12 | 2023-11-16 | 2024-11-30 | annual | LPI-SOP-601 | N/A | N/A | N/A
DL-07 | RM 114 | Hygrometer | Traceable | CC6521 | 200383927 | TraceableLive WIFI Hygrometer | TSS |  | 2023-11-16 | 2024-11-30 | annual | LPI-SOP-601 | N/A | N/A | N/A
DL-08 | RM 114 | Hygrometer | Traceable | CC6521 | 211076196 | TraceableLive WIFI Hygrometer | TSS |  | 2023-09-18 | 2024-09-30 | annual | LPI-SOP-601 | N/A | N/A | N/A
DL-09 | RM 114 | Hygrometer | Traceable | CC6521 | 200286762 | TraceableLive WIFI Hygrometer (Finish Product RM) | TSS |  | 2023-11-16 | 2024-11-30 | annual | LPI-SOP-601 | N/A | N/A | N/A
DL-10 | RM 108 | Hygrometer | Traceable | CC6521 | 200286759 | TraceableLive WIFI Hygrometer (Raw Material RM) | TSS |  | 2023-09-18 | 2024-09-30 | annual | LPI-SOP-601 | N/A | N/A | N/A
DL-11 | RM 115 | Thermometer | Traceable | CC6500 | 221647563 | TraceableLive WIFI Thermometer (STB-10) | ilac-MRA |  | 2023-07-13 | 2024-07-13 | annual | LPI-SOP-601 | N/A | N/A | N/A
DL-12 | RM 115 | Hygrometer | Traceable | CC6521 | 221624480 | TraceableLive WIFI Hygrometer (STB-13) | ilac-MRA |  | 2022-06-30 | 2024-06-30 | annual | LPI-SOP-601 | N/A | N/A | N/A
DL-13 | RM 115 | Hygrometer | Traceable | CC6520 | 230541092 | TraceableLive WIFI Hygrometer | ilac-MRA |  | 2023-08-11 | 2025-08-11
DL-14 | RM 115 | Thermometer | Traceable | CC652 | 230541095 | TraceableLive WIFI Thermometer (STB-09) | ilac-MRA |  | 2023-08-11 | 2025-08-11
DL-16 | RM 111 | Hygrometer | Traceable | CC6500 | 230725485 | TraceableLive WIFI Hygrometer (STB-4) | ilac-MRA |  | 2023-10-30 | 2025-10-30
DL-17 | RM 114 | Hygrometer | Traceable | 652 | 230456693 | TraceableLive WIFI Hygrometer | ilac-MRA |  | 2023-07-10 | 2025-07-10
DL-18 | RM 114 | Hygrometer | Traceable | 652 | 230541099 | TraceableLive WIFI Hygrometer | ilac-MRA |  | 2023-08-11 | 2025-08-11
DL-19 | RM 114 | Hygrometer | Traceable | 652 | 230541086 | TraceableLive WIFI Hygrometer (STB-14) | ilac-MRA |  | 2023-08-11 | 2025-08-11
DL-20 | RM 115 | Hygrometer | Traceable | 652 | 230456691 | TraceableLive WIFI Hygrometer | ilac-MRA |  | 2023-07-10 | 2025-07-10
FLW-1 | RM 138 | Flowmeter | Sierra Instruments | 822S-M-3-OV1-PV1-V1 | 48600 | Flow Meter | broken |  | 2021-09-30 | 2022-09-30 | annual |  | N/A | N/A | N/A | David R.
FRC-1 | RM 155 | Force Gauge | HP Series | HP-50 | 1050113204585 | Force Meter (50N) | broken |  |  | 2022-04-30 | annual |  | N/A | N/A | N/A | David R.
FRC-2 | RM 138 | Force Gauge | HP Series | HP-500 | 1500150614275 | Force Meter (500N) | broken |  |  | 2016-06-13 | annual |  | N/A | N/A | N/A | David R.
HYGRO-1 | RM 138 | Hygrometer | Traceable | 4093 | 98766-54 | Humidity / Temperature Pen | TransCat |  | 2023-11-16 | 2024-11-16 | annual |  | N/A | N/A | N/A | David R.
MANO-1 | RM 114 | Manometer | Traceable | 3462 | 210578983 | Manometer | broken |  | 2022-06-08 | 2023-07-08 | annual |  | N/A | N/A | N/A | David R.
MFG-10 | QC Lab | Gauge | Ashcroft | DG25 | 17081611003 | Digital Pressure Gauge | broken |  | 2022-09-01 | 2023-09-30 | annual |  | N/A | N/A | N/A | David R.
MFG-100G | RM138 | Weight | Mettler Toledo | Class F2 | B553919855 | 100g Weight | TransCat |  | 2023-06-23 | 2024-06-23 | semi-annual |  | N/A | N/A | N/A | David R.
MFG-100G-01 | RM138 | Weight | Troemner | Class 1 | 1000225124 | 100g Weight | TransCat |  | 2023-11-15 | 2024-11-15 | annual |  | N/A | N/A | N/A | David R.
MFG-100G-02 | RM 114 | Weight | Mettler Toldeo | Class F2 | 30402661 | 100g Weight | TransCat |  | 2023-12-28 | 2024-12-28 | annual
MFG-100G-03 | RM 114 | Weight | Troemner | Class 1 | 1000242369 | 100g Weight | TransCat |  | 2024-02-01 | 2025-02-01 | annual
MFG-100MG | RM 138 | Weight | Rice Lake | Class F2 | 8ZCE | 100 mg | TransCat |  | 2024-04-02 | 2025-04-02 | annual |  | N/A | N/A | N/A | David R.
MFG-10G | RM 114 | Weight | Mettler Toledo | Class F2 | B553919854 | 10 gram | TransCat |  | 2023-06-23 | 2024-06-23 | annual |  | N/A | N/A | N/A | David R.
MFG-11 | QC Lab | Gauge | Ashcroft | 733-18R | 2005 | Pressure Gauge | TransCat | TSS ID: S033 | 2024-03-21 | 2025-03-31
MFG-1G | RM 114 | Weight | Rice Lake | Class F2 | 8ZCF | 1 gram Weight | TransCat |  | 2023-11-16 | 2024-11-16 | annual |  | N/A | N/A | N/A | David R.
MFG-1G-02 | RM 114 | Weight | Troemner | Class 1 | 1000242408 | 1 gram Weight | TransCat |  | 2024-02-01 | 2025-02-01 | annual |  | N/A | N/A | N/A | AK
MFG-2 | RM 138 | Gauge | SSI Technologies | MGA-300-A-9V-R | 2003100612 | Pressure Gauge (300psi) | TSS |  | 2024-03-21 | 2025-03-31 | annual |  | N/A | N/A | N/A | David R.
MFG-2KG | RM114 | Weight | Mettler Toledo | Class F1 | 2491 | 2 kg Weight | TransCat |  | 2023-11-21 | 2024-11-21 |  |  | N/A | N/A | N/A | Andy
MFG-3 | RM 145 | Balance | Mettler Toledo | PG-503S | 1118093531 | Analytical Balance | LPI | Max=510g, d=0.001g | 2024-04-03 | 2025-04-03
MFG-4 | RM 119 | Autoclave | Tuttnauer | 3870EA | 2203267 | Tuttnauer 3870 Autoclave | TSS |  | 2024-02-27 | 2025-02-27 | annual |  | N/A | N/A | N/A | Carl P.
MFG-5 | RM 138 | Gauge | SSI Technologies | MGA-30-A-9V-R | 2004280414 | Pressure Gauge (30psi) | TSS |  | 2023-03-21 | 2025-03-31 | annual |  | N/A | N/A | N/A | David R.
MFG-5KG-01 | RM 114 | Weight | Mettler Toledo | Class M1 | 1000241593 | 5-Kg Weight Standard | TransCat |  | 2024-02-05 | 2025-02-05 | annual |  | N/A | N/A | N/A | Carl P.
MFGBFS-1 | RM155 | Floor Scale | Adam Equipment | CPW+200L | AE63603602 | Floor Scale with load cell | TSS |  | 2023-08-02 | 2024-08-31 | annual |  | N/A | N/A | N/A | Andy K.
MFGBSC-1 | RM 145 | Biological Safey Cabinet | Nuaire | NU-425-600 | 70657ADZ | Class II Type A/B3 | TSS |  | 2023-07-18 | 2024-07-31 | annual | LPI-PRO-007 | N/A | N/A | N/A
MFGCM-1 | MFG-2 | Comil | Quadro | U3 | U3-0020 | Quandro Comil U3 Underdriven |  |  | N/A | N/A | N/A | LPI-SOP-231 | N/A | N/A | N/A | Joshua D.
MFGCP-1 | MFG RM 1; RM 146 | Capsule Filler | Vortex | Manual Cap Filling Machine_300 Caps | M/1242 | Vortex Capsule Filler |  |  | N/A | N/A | N/A | LPI-SOP-223 | N/A | N/A | N/A | Joshua D.
MFGCP-2 | MFG RM 1; RM 147 | Capsule Filler |  | N/A | M/242 S/2 | Size 2 Tray |  |  | N/A | N/A | N/A | LPI-SOP-224 | N/A | N/A | N/A | Joshua D.
MFGCP-3 | MFG RM 1; RM 148 | Capsule Filler |  | N/A | M/242 S/00 | Size 00 Tray |  |  | N/A | N/A | N/A | LPI-SOP-225 | N/A | N/A | N/A | Joshua D.
MFGEDM-1 | MFG-1 | Eye Drop Machine | Shanghai Cevelop Machinery Co. LTD | YG60B | SDM3407 | Eye Drop Filling, Stoppering and Capping Machine |  |  | Per Use | Per Use | Annual | LPI-SOP-235 | N/A | N/A | N/A | Andy K.
MFGpH-1 | MFG-1 | pH Meter | Oakton | pH150 | 3027967 | pH Meter |  |  | N/A | N/A | per Use | LPI-SOP-209 | N/A | N/A | N/A | Jeremy J.
MFGSCF-1 | MFG-2 | Capsule Filling Machine | Pusch R5 Vacuum Pump 2211032 | JTJ-V | 22120073 | CapsulCN Semi-Automatic Capsule filler |  |  | N/A | N/A | N/A | LPI-SOP-133 | N/A | N/A | N/A | Damian M
MFG-TLB-1 | QC Lab | Balance | Metler Toledo | PM30000-K | M66081 | Top Loading Balance |  | max = 32000g, d = 0.1g | 2024-01-31 | 2025-01-31 |  |  | N/A | N/A | N/A | AK
MFG-TLB-2 | QC Lab | Balance | Mettler | PM30-K | 2113035375 | Top Loading Balance |  | max = 32000g, d = 1g
MFGTP-1 | MFG-2 | Tablet Press | Korsch AG | EK 0 | K0000076 | Single Punch Tablet Punch |  |  | N/A | N/A | N/A | LPI-SOP-230 | N/A | N/A | N/A | Joshua D.
MFGVB-1 | RM 146 | V-Blender | Patterson Kelley_PK | Blender Master | 01314 | V-Blender |  |  | N/A | N/A | N/A | LPI-SOP-229 | N/A | N/A | N/A | Joshua D.
MFGVB-1 | RM 146 | V-Blender | PK Blendmaster | N/A | 1742 S10 2Q | 2-Quart V-Blender Chamber |  |  | N/A | N/A | N/A | LPI-SOP-229 | N/A | N/A | N/A | Joshua D.
MFGVB-1 | RM 146 | V-Blender | PK Blendmaster | N/A | 1743 S11 4Q | 4-Quart V-Blender Chamber |  |  | N/A | N/A | N/A | LPI-SOP-229 | N/A | N/A | N/A | Joshua D.
MFGVB-1 | RM 146 | V-Blender | PK Blendmaster | N/A | 1744 S12 8Q | 8-Quart V-Blender Chamber |  |  | N/A | N/A | N/A | LPI-SOP-229 | N/A | N/A | N/A | Joshua D.
MFGVB-2 | RM 119 | V-blender | CAPSULCN | V100 | 22120073 | V-blender
MFGVB-3 | RM 119 | V-blender | Globe Pharma | MBLBUV | 071985868 | MAXIBLEND V-blender
MFGWS-1 | QC Lab | Weight Sorter Tablet/Capsule | Precision | SPB40 | PS 596 | SADE SP | AC Compacting |  | 2024-03-27 | 2025-03-31 | Annual | LPI-SOP-236 | N/A | N/A | N/A | Andy K.
Photo-1 | RM 114 | Light Meter | Digi-Sense | 20250-00 | 200901686 | Data Logging Light Meter | Innocal |  | 2023-06-08 | 2024-06-08 | annual |  | N/A | N/A | N/A | David R.
PROBE01 | QC Lab | Thermometer | Traceable | 651 | 210152050 | Ultra-Low Temperature WIFI Data Logger | TSS |  | 2023-11-16 | 2024-11-30 | Annual | N/A | N/A | N/A | N/A | Andy
PROBE02 | QC Lab | Thermometer | Traceable | 651 | 210151995 | Ultra-Low Temperature WIFI Data Logger | TSS |  | 2023-11-16 | 2024-11-30 | Annual | N/A | N/A | N/A | N/A | Andy
PROBE03 | QC Lab | Thermometer | Traceable | 651 | 210152045 | Ultra-Low Temperature WIFI Data Logger | TSS |  | 2023-11-16 | 2024-11-30 | Annual | N/A | N/A | N/A | N/A | Andy
PROBE04 | QC Lab | Thermometer | Traceable | 651 | 210152019 | Ultra-Low Temperature WIFI Data Logger | TSS |  | 2023-11-16 | 2024-11-30 | Annual | N/A | N/A | N/A | N/A | Andy
PROBE05 | QC Lab | Thermometer | Traceable | 651 | 210152052 | Ultra-Low Temperature WIFI Data Logger | TSS |  | 2023-11-16 | 2024-11-30 | Annual | N/A | N/A | N/A | N/A | Andy
PROBE06 | QC Lab | Thermometer | Traceable | 651 | 210151988 | Ultra-Low Temperature WIFI Data Logger | TSS |  | 2023-11-16 | 2024-11-30 | Annual | N/A | N/A | N/A | N/A | Andy
PROBE07 | QC Lab | Thermometer | Traceable | 651 | 210152053 | Ultra-Low Temperature WIFI Data Logger | TSS |  | 2023-11-16 | 2024-11-30 | Annual | N/A | N/A | N/A | N/A | Andy
PROBE08 | QC Lab | Thermometer | Traceable | 651 | 210152049 | Ultra-Low Temperature WIFI Data Logger | TSS |  | 2023-11-16 | 2024-11-30 | Annual | N/A | N/A | N/A | N/A | Andy
PROBE09 | QC Lab | Thermometer | Traceable | 651 | 210151998 | Ultra-Low Temperature WIFI Data Logger | TSS |  | 2023-12-04 | 2024-12-31 | Annual | N/A | N/A | N/A | N/A | Andy
QC-100MG | RM 114 | Weight | Mettler Toledo | Class F1 | B553919852 | 100mg Weight | TransCat |  | 2023-06-23 | 2024-06-23 | annual |  | N/A | N/A | N/A | Neha S.
QC-100MG-3 | RM 114 | Weight | Troemner | Class 1 | 1000240080 | 100mg Weight | TransCat |  | 2024-01-05 | 2025-01-05
QC-10MG | QC Lab | Weight | Mettler Toledo | Class F1 | B553919851 | 10mg Weight | TSS |  | 2023-06-14 | 2024-06-30
QC-10MG-2 | QC Lab | Weight | Troemner | Class 1 | 1000234550 | 10mg Weight | TransCat |  | 2023-11-15 | 2024-11-15 | Annual |  | N/A | N/A | N/A | Andy K.
QC-10MG-3 | QC Lab | Weight | Troemner | Ultra Class | 1000229556 | 10mg Weight | Troemner |  | 2023-12-19 | 2024-12-19 | Annual |  | N/A | N/A | N/A | Andy K.
QC25KG | QC Lab | Weight | Rice Lake | Class 6 | 8P9M | 25 Kg |  |  |  | 2022-06-01 | annual |  | N/A | N/A | N/A
QC25KG-0 | QC Lab | Weight | Troemner | Class F | n/a | 25 Kg | TransCat |  | 2023-08-29 | 2024-08-29
QC25KG-1 | QC Lab | Weight | Troemner | Class F | 1 | 25 Kg | Transcat | ID: 1 | 2023-08-24 | 2024-08-24
QC25KG-2 | QC Lab | Weight | Troemner | Class 6 | n/a | 25 Kg | TransCat | ID: 1 | 2023-08-16 | 2024-08-16
QC-2G | RM 114 | Weight | Mettler Toledo | Class F2AC | B553919853 | 2 g |  |  | 2023-06-23 | 2024-06-23 | annual |  | N/A | N/A | N/A | David R.
QC5KG-1 | RM 114 | Weight | U-Line | Class 5 | 9HN1 | 5Kg Weight | TransCat |  | 2023-11-15 | 2024-11-15 | annual |  | N/A | N/A | N/A | David R.
QC5KG-2 | RM 114 | Weight | U-Line | Class 5 | 8VWN | 5Kg Weight |  |  | 2023-11-15 | 2024-11-15 | annual |  | N/A | N/A | N/A
QCA-1 | QC Lab | Accusizer | PSS Nicomp | 780A Autodiluter | 9911707 | Accusizer |  |  | N/A | N/A | per Use | LPI-SOP-125 | N/A | N/A | N/A
QCA-1 | QC Lab | Accusizer | PSS Nicomp | 780C | 9911912 | Accusizer |  |  | N/A | N/A | per Use | LPI-SOP-125 | N/A | N/A | N/A
QCAB-1 | QC Lab | Balance | Mettler Toledo | AX105DR | 1121240974 | Analytical Balance | TSS |  | 2023-11-16 | 2024-11-30 | annual | LPI-SOP-224 | N/A | N/A | N/A | Neha S.
QCAB-2 | QC Lab | Balance | Mettler | PM-30000-K | L78888 | Top Loading Balance
QCAB-3 | QC Lab | Balance | Mettler Toledo | PR5002 | 1119251449 | Analytical Balance | TSS |  | 2023-11-16 | 2024-11-16
QCAB-4 | QC Lab | Balance | Mettler Toledo | AX205DR | 1121473026 | Analytical Balance | TSS | Max = 220g, d =0.01mg/0.1mg | 2023-12-29 | 2024-12-31 | annual |  | N/A | N/A | N/A | AK
QCAB-5 | QC Lab | Balance | Mettler Toledo | PR5002 | 1116511042 | Analytical Balance |  | Max = 5100g, d =0.01g | 2024-02-12 | 2025-02-12
QCAB-6 | QC Lab | Balance | Mettler Toledo | PR1203 | 1122322015 | Analytical Balance | TSS | max = 1210g, d=.001g | 2024-03-21 | 2025-03-31
QCAB-7 | QC Lab | Balance | Mettler | PM3000 | G80949 | Balance | TSS- FAILED | Max = 3100g, d =0.1g
QCAB-8 | QC Lab | Balance | Mettler Toldeo | AX205DR | 1122212209 | Analytical Balance | TSS | Max = 220g, d =0.01mg/0.1mg | 2024-03-21 | 2025-03-31
QCBSC-1 | QC Lab | Biological Safey Cabinet | Labconco | 36208043726 | 70370816 | Purifier Class II | TSS |  | 2024-03-22 | 2025-03-31 | annual |  | N/A | N/A | N/A
QCBSC-2 | QC Lab | Biological Safey Cabinet | NUAIRE | NU-S125-648 | 175849082616 | Biological Safety Cabinet
QCCCI-1 | QC Lab | CCIT | Santron, vacuum/pressure chamber | PSI-ACVAA-101010 | N/A | Container Closure Integrity Test Instrument |  |  |  |  | annual | LPI-SOP-220 | N/A | N/A | N/A
QCCCI-1 | QC Lab | CCIT | pump: Welch | 2522B-01 | ST/SR 081600007975 | Container Closure Integrity Test Instrument |  |  |  |  | annual | LPI-SOP-220 | N/A | N/A | N/A
QC-CCS-1 | QC Lab | Scale | Sartorius | QC35EDE-S0UR | 0211/11311075 | Counting and Checkweighing Scale | TSS | calibration weight = 10kg Capacity resolution 35kg x 0.5 g reproducibility = 1g | 2024-01-08 | 2025-01-31
QCDS-1 | QC Lab | Dissolution | Vankel | VK7000 | 17-495-0197 | Dissolution System |  |  | 2023-10-30 | 2024-10-30 | annual | LPI-SOP-131 | N/A | N/A | N/A
QCDWS-1 | Glassware | DI Water | Barnstead | D4641 | 1090001208381 | DI Water System |  |  | N/A | N/A | bi-annual | LPI-SOP-212 | N/A | N/A | N/A
QCED-1 | QC Lab | Endotoxin | Sievers | Eclipse 50i | 21050089 | Sievers Eclipse Reader |  |  | 2021-06-30 | 2023-06-28 | annual | LPI-SOP-129 | N/A | N/A | N/A | Carl P.
QC-FAO-1 | QC Lab | Oven | Sheldon | SMO14-2 | 06030318 | Forced Air Oven (PN: 9071306) | TSS |  | 2024-01-08 | 2025-01-31 | annual |  | N/A | N/A | N/A
QC-FT-1 | RM 119 | Friability Tester | Erweka | TAD 53715 | 53715 | Friability Tester |  |  | Per Use | Per Use
QCFTIR-1 | QC Lab | FTIR | Agilent | Ncasy 630 FTIR | NY20202019 | Agilent FTIR |  |  | 2022-05-05 | 2023-05-05 | annual | LPI-SOP-228 | N/A | N/A | N/A
QCGC-1 | QC Lab | GC | Agilent Technologies | 6890N GC | US10530041 | Gas Chromatograph-FID |  |  | 2024-03-14 | 2025-03-14 | annual | LPI-SOP-219 | N/A | N/A | N/A
QCGC-1 | QC Lab | GC | Agilent Technologies | HP7694 HS sampler | IT00310229 | Gas Chromatograph-FID |  |  | 2024-03-14 | 2025-03-14 | annual | LPI-SOP-219 | N/A | N/A | N/A
QCGC-1 | QC Lab | GC | Agilent Technologies | 7683 Injector | US93809220 | Gas Chromatograph-FID |  |  | 2024-03-14 | 2025-03-14 | annual | LPI-SOP-219 | N/A | N/A | N/A
QCGC-1 | QC Lab | GC | Agilent Technologies | 7683 Autosampler | CN21020348 | Gas Chromatograph-FID |  |  | 2024-03-14 | 2025-03-14 | annual | LPI-SOP-219 | N/A | N/A | N/A
QCH-1 | QC Lab | HIAC | Royco | Model 9703 | GL0505 | HIAC |  |  | N/A | N/A | Daily | LPI-SOP-117 | N/A | N/A | N/A
QCHPLC-1 | QC Lab | HPLC | Degasser | G1379A | JP13204368 | HPLC Agilent 1100 Series |  |  | 2021-12-21 | 2022-12-21 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-1 | QC Lab | HPLC | Quatpump | G1311A | DE11114999 | HPLC Agilent 1100 Series |  |  | 2021-12-21 | 2022-12-21 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-1 | QC Lab | HPLC | ALS | G1329A | DE33213018 | HPLC Agilent 1100 Series |  |  | 2021-12-21 | 2022-12-21 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-1 | QC Lab | HPLC | ALS Thermostat | G1330B | DE13208463 | HPLC Agilent 1100 Series |  |  | 2021-12-21 | 2022-12-21 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-1 | QC Lab | HPLC | COLCOM | G1316A | US72102230 | HPLC Agilent 1100 Series |  |  | 2021-12-21 | 2022-12-21 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-1 | QC Lab | HPLC | DAD | G1315B | DE11112806 | HPLC Agilent 1100 Series |  |  | 2021-12-21 | 2022-12-21 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-2 | QC Lab | HPLC | Degasser | G1379B | JP63703902 | HPLC Agilent 1200 Series |  |  | 2022-04-18 | 2023-04-18 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-2 | QC Lab | HPLC | QuatPump | G1311A | DE60555239 | HPLC Agilent 1200 Series |  |  | 2022-04-18 | 2023-04-18 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-2 | QC Lab | HPLC | 1260 ALS | G1329B | DEAAC23550 | HPLC Agilent 1200 Series |  |  | 2022-04-18 | 2023-04-18 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-2 | QC Lab | HPLC | FC/ALS Therm | G1330B | DE60562472 | HPLC Agilent 1200 Series |  |  | 2022-04-18 | 2023-04-18 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-2 | QC Lab | HPLC | TCC | G1316A | DE60557001 | HPLC Agilent 1200 Series |  |  | 2022-04-18 | 2023-04-18 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-2 | QC Lab | HPLC | DAD | G1315B | DE60555208 | HPLC Agilent 1200 Series |  |  | 2022-04-18 | 2023-04-18 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-2 | QC Lab | HPLC | A/D Converter | 35900E | LN00000249 | HPLC Agilent 1200 Series |  |  | 2022-04-18 | 2023-04-18 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-2 | QC Lab | HPLC | Corona CAD | 70-6186 | CO-0173 | HPLC Agilent 1200 Series |  |  | 2022-04-18 | 2023-04-18 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-3 | QC Lab | HPLC | Degasser | G1322A | JP05030345 | HPLC Agilent 1100 Series |  |  | 2022-08-12 | 2023-08-12 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-3 | QC Lab | HPLC | QuatPump | G1311A | DE23922786 | HPLC Agilent 1100 Series |  |  | 2022-08-12 | 2023-08-12 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-3 | QC Lab | HPLC | AutoSampler | G1329A | DE91604477 | HPLC Agilent 1100 Series |  |  | 2022-08-12 | 2023-08-12 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-3 | QC Lab | HPLC | Thermostat | G1330B | DE13209894 | HPLC Agilent 1100 Series |  |  | 2022-08-12 | 2023-08-12 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-3 | QC Lab | HPLC | COLCOM | G1316A | DE91610488 | HPLC Agilent 1100 Series |  |  | 2022-08-12 | 2023-08-12 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-3 | QC Lab | HPLC | DAD | G1315B | DE23917598 | HPLC Agilent 1100 Series |  |  | 2022-08-12 | 2023-08-12 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-5 | QC Lab | HPLC | Degasser | G1322A | JP62354290 | HPLC Agilent 1200 Series |  |  | 2024-01-24 | 2025-01-24 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
QCHPLC-5 | QC Lab | HPLC | Quad Pump | G1311A | DE60556928 | HPLC Agilent 1200 Series |  |  | 2024-01-24 | 2025-01-24 | annual | LPI-SOP-210 | N/A | N/A | N/A
QCHPLC-5 | QC Lab | HPLC | ALS | G1329A | DE60557337 | HPLC Agilent 1200 Series |  |  | 2024-01-24 | 2025-01-24 | annual | LPI-SOP-210 | N/A | N/A | N/A
QCHPLC-5 | QC Lab | HPLC | FC/ALS Therm | G1330B | DE60559416 | HPLC Agilent 1200 Series |  |  | 2024-01-24 | 2025-01-24 | annual | LPI-SOP-210 | N/A | N/A | N/A
QCHPLC-5 | QC Lab | HPLC | TCC | G1316A | DE60557494 | HPLC Agilent 1200 Series |  |  | 2024-01-24 | 2025-01-24 | annual | LPI-SOP-210 | N/A | N/A | N/A
QCHPLC-5 | QC Lab | HPLC | DAD G1315B | G1315B | DE60555850 | HPLC Agilent 1200 Series |  |  | 2024-01-24 | 2025-01-24 | annual | LPI-SOP-210 | N/A | N/A | N/A
QCKF-1 | QC Lab | Karl Fisher | Mettler Toledo | DL32 | 5126206996 | Karl Fischer Titrator |  |  | N/A | N/A | per Use | LPI-SOP-211 | N/A | N/A | N/A
QCKF-1 | QC Lab | Karl Fisher | Printer | RS P42 | 1126250582 | Karl Fischer Titrator |  |  | N/A | N/A | per Use | LPI-SOP-211 | N/A | N/A | N/A
QCKF-1 | QC Lab | Karl Fisher | Oven | D0308 | 5127433970 | Karl Fischer Titrator |  |  | N/A | N/A | per Use | LPI-SOP-211 | N/A | N/A | N/A
QCKF-2 | QC Lab | Moisture Content | Mettler Toledo | V20S | C244198124 | Karl Fischer Titrator |  |  | 2023-02-07 | 2023-02-08 | annual | LPI-SOP-211 | N/A | N/A | N/A | Neha S.
QCM-1 | QC Lab | Microscope | Nikon Corporation | Eclipse 50i | 115906 | Polarizing Microscope |  |  | 2022-10-26 | 2023-10-26 | annual | LPI-SOP-213 | N/A | N/A | N/A | Viet
QCMM-1 | QC Lab | Mastersizer | Malvern | Mastersizer 2000 | MAL1042059 | Malvern Mastersizer |  |  | N/A | N/A | per Use | LPI-SOP-218 | N/A | N/A | N/A
QCO-1 | QC Lab | Osmometer | Advanced Instrument Inc | 3250 | 08050591C | Osmometer |  |  | N/A | N/A | per Use | LPI-SOP-124 | N/A | N/A | N/A
QCP-1 | QC Lab | Pipette | Gilson | P100 | N14192C | Air-Displacement Micropipette (1-100 µL) |  |  | 2023-06-21 | 2024-06-21 | annual | LPI-SOP-206 | N/A | N/A | N/A
QCP-2 | QC Lab | Pipette | Gilson | P100 | BH63494 | Air-Displacement Micropipette (1-100 µL) |  |  | 2023-06-21 | 2024-06-21 | annual | LPI-SOP-206 | N/A | N/A | N/A
QCP-3 | QC Lab | Pipette | Gilson | P200 | G12113B | Air-Displacement Micropipette (1-200 µL) |  |  | 2023-05-26 | 2024-05-26 | annual | LPI-SOP-206 | N/A | N/A | N/A
QCP-4 | QC Lab | Pipette | Gilson | P200 | BA57062 | Air-Displacement Micropipette (1-200 µL) |  |  | 2023-06-21 | 2024-06-21 | annual | LPI-SOP-206 | N/A | N/A | N/A
QCP-5 | QC Lab | Pipette | Gilson | P1000 | G16909C | Air-Displacement Micropipette (1-1000 µL) | TransCat |  | 2023-12-07 | 2025-05-31 | annual | LPI-SOP-206 | N/A | N/A | N/A
QCP-6 | QC Lab | Pipette | Gilson | P1000 | BJ55057 | Air-Displacement Micropipette (1-1000 µL) |  |  | 2023-06-21 | 2024-05-26 | annual | LPI-SOP-206 | N/A | N/A | N/A
QCP-7 | QC Lab | Pipette | Biotix | xP-200 | C015273607 | Air-Displacement Micropipette (20-200 µL) |  |  | 2023-05-26 | 2024-05-26 | annual | LPI-SOP-206 | N/A | N/A | N/A
QCP-8 | QC Lab | Pipette | Biotix | xP-1000 | C009053078 | Air-Displacement Micropipette (100-1000 µL) |  |  | 2023-05-26 | 2024-05-26 | annual | LPI-SOP-206 | N/A | N/A | N/A
QCP-9 | QC Lab | Pipette | Biotix | xP-300 | C025588054 | Air-Displacement Micropipette (20-300 µL) |  |  | 2023-05-26 | 2024-05-26 | annual | LPI-SOP-206 | N/A | N/A | N/A
QCpH-1 | QC Lab | pH Meter | Thermo Scientific | Orion 320 | 021557 | pH Meter |  |  | N/A | N/A | per Use | LPI-SOP-209 | N/A | N/A | N/A
QCpH-2 | QC Lab | pH Meter | Thermo Scientific | Orion Star A211 | X22249 | pH Meter |  |  | N/A | N/A | per Use | LPI-SOP-209 | N/A | N/A | N/A
QC-SSJ-01 | RM 114 | Induction Sealer | Enercon Industries Inc. | LM070-01 | C23129-01 | Super Seal Jr. |  |  | 2024-01-23 | 2024-01-23 | annual |  | N?A | N/A | N/A | AK
QC-SSJ-02 | RM 114 | Induction Sealer | Enercon Industries Inc. | LM070-31 | 181818-1-1 | Super Seal Jr. | Enercon |  | 2024-02-02 | 2025-02-02
QC-THT-1 | RM 119 | Tablet Hardness Tester | Varian | VK200 4021 | 4021 | Tablet Hardness Tester
QCTOC-1 | QC Lab | TOC | Sievers | M9 | 19074528 | Sievers TOC Analyzer |  |  | 2024-01-31 | 2025-01-31 | annual | LPI-SOP-127 | N/A | N/A | N/A | Carl P.
QCUHPLC-1 | QC Lab | UPLC | 1260 DAD Agilent | G4212B | DEAA310659 | UPLC Agilent 1290 Infinity LC |  |  | 2022-03-01 | 2023-03-01 | annual | LPI-SOP-227 | N/A | N/A | N/A
QCUHPLC-1 | QC Lab | UPLC | Agilent 1290 TCC | G1316C | DEBAC11652 | UPLC Agilent 1290 Infinity LC |  |  | 2022-03-01 | 2023-03-01 | annual | LPI-SOP-227 | N/A | N/A | N/A
QCUHPLC-1 | QC Lab | UPLC | Agilent 1290 Sampler | G4226A | DEBAP07209 | UPLC Agilent 1290 Infinity LC |  |  | 2022-03-01 | 2023-03-01 | annual | LPI-SOP-227 | N/A | N/A | N/A
QCUHPLC-1 | QC Lab | UPLC | Agilent 1290 Thermostat | G1330B | DEBAK24889 | UPLC Agilent 1290 Infinity LC |  |  | 2022-03-01 | 2023-03-01 | annual | LPI-SOP-227 | N/A | N/A | N/A
QCUHPLC-1 | QC Lab | UPLC | Agilent 1290 Binary Pump | G4220A | DEBAA05846 | UPLC Agilent 1290 Infinity LC |  |  | 2022-03-01 | 2023-03-01 | annual | LPI-SOP-227 | N/A | N/A | N/A
QCUV-1 | QC Lab | UV-VIS | Beckman | DU 640 | 4320475 | UV-Vis |  |  | 2023-10-24 | 2024-10-24 | annual | LPI-SOP-221 | N/A | N/A | N/A | Neha S.
QCV-1 | QC Lab | Viscometer | Brookfield | RVDV-III Ultra | 8491615 | Brookfield LVDV-III+ viscometer/ Rheometer |  |  | N/A | N/A | per Use | LPI-SOP-123 | N/A | N/A | N/A
QCZ-1 | QC Lab | Zetasizer | Malvern | ZEN3600 | MAL500732 | Zetsizer Nano Series |  |  | N/A | N/A | per Use | LPI-SOP-116 | N/A | N/A | N/A
SAS-1 | RM145 | Air Sampler | Bioscience International | SAS Super 100 | 02-C-02036 | 100 LPM Air Sampler | Bioscience International |  | 2023-11-15 | 2024-11-15 | annual |  | N/A | N/A | N/A | AK
SAS-2 | RM145 | Air Sampler | Bioscience International | SAS Super 100 | 03-CM-02243 | 100 LPM Air Sampler | Bioscience International |  | 2023-10-23 | 2024-10-23 | annual |  | N/A | N/A | N/A | AK
SAS-3 | RM145 | Air Sampler | Bioscience International | SAS Super 100 | 17-D-11859 | 100 LPM Air Sampler | Bioscience International |  | 2023-07-13 | 2024-07-13 | annual |  | N/A | N/A | N/A | aK
STB-01 | Room 111 | Chamber | Thermo | 3940 | 162172-3283 | Stability Chamber 40C/75% |  | Moved to STB-12 | 2023-10-18 | 2024-10-31 | annual | LPI-SOP-602 | N/A | N/A | N/A
STB-02 | Room 111 | Chamber | Thermo | 3940 | 305485-2138 | Stability Chamber 25C/65% |  |  | 2023-10-18 | 2024-10-31 | annual | LPI-SOP-602 | N/A | N/A | N/A
STB-03 | Room 111 | Chamber | Thermo | 3940 | 314904-2622 | Stability Chamber 30C/70% |  |  | 2023-04-25 | 2024-04-30 | annual | LPI-SOP-602 | N/A | N/A | N/A
STB-04 | Room 115 | Chamber | Everest | R290 | BSR320020006 | Stability Chamber 2-8C | TSS |  | 2023-10-18 | 2024-10-31 | annual | LPI-SOP-602 | N/A | N/A | N/A
STB-05 | Room 115 | Chamber | Everest | ESR3 | BSR318040019 | Stability Chamber 2-8C | TSS | 5°C +/- 3°C | 2023-12-29 | 2024-12-31 | annual | LPI-SOP-602 | N/A | N/A | N/A
STB-06 | Room 115 | Chamber | VWR | 1545 | 42407002 | Incubator 30-35C | TSS |  | 2023-12-29 | 2024-12-31 | annual | LPI-SOP-602 | N/A | N/A | N/A
STB-07 | Room 115 | Chamber | VWR | F Air 2.3F | 42656268 | Incubator 57.5C | TSS |  | 2023-12-29 | 2024-12-31 | annual | LPI-SOP-602 | N/A | N/A | N/A
STB-08 | Room 115 | Chamber | VWR | HCMFS-20 | VWR-7022098-1710 | Stability Chamber -20C | TSS |  | 2023-12-29 | 2024-12-31 | annual | LPI-SOP-602 | N/A | N/A | N/A
STB-09 | Room 115 | Chamber | Thermo | MFU20F3BW2 | WB51202089 | Stability Chamber 20-25C | TSS | 22.5°C +/- 2.5°C | 2023-12-04 | 2024-12-31 | annual | LPI-SOP-602 | N/A | N/A | N/A
STB-10 | Room 115 | Chamber | LRP | LRP-MFP-20 | LRP-WB90143508-1903 | Stability Chamber -20C | TSS |  | 2023-12-29 | 2024-12-31 | Annual | LPI-SOP-602 | N/A | N/A | N/A | Andy
STB-11 | Room 115 | Chamber | STIK Instrument Equiptment Co., Ltd | Climate Chamber IMT-750L | 23070267500003 | Stability Chamber 25C | TSS | 25° +/- 2°C | 2023-11-23 | 2024-11-30 | Annual | LPI-SOP-242 | N/A | N/A | N/A | Andy
STB-12 | Room 115 | Chamber | STIK Instrument Equiptment Co., Ltd | Climate Chamber IMT-750L | 23070267500007 | Stability Chamber 40C/75% | TSS | materials from STB-1 | 2023-11-16 | 2024-11-30 | Annual | LPI-SOP-242 | N/A | N/A | N/A | Andy
STB-13 | Room 115 | Chamber | STIK Instrument Equiptment Co., Ltd | Climate Chamber IMT-750L | 23070267500006 | Stability Chamber 25C/65% | TSS | changed to 25C/60%RH | 2023-11-16 | 2024-11-30 | Annual | LPI-SOP-242 | N/A | N/A | N/A | Andy
STB-14 | Room 115 | Chamber | STIK Instrument Equiptment Co., Ltd | Climate Chamber IMT-750L | 23070267500004 | Stability Chamber 30C/60% | TSS |  | 2023-11-16 | 2024-11-30 | Annual | LPI-SOP-242 | N/A | N/A | N/A | Andy
STB-15 | Room 115 | Chamber | STIK Instrument Equiptment Co., Ltd | Climate Chamber IMT-750L | 23070267500005 | Stability Chamber 25C | TSS |  | 2023-11-16 | 2024-11-30 | Annual | LPI-SOP-242 | N/A | N/A | N/A | Andy
STB-16 | Room 115 | Chamber | STIK Instrument Equiptment Co., Ltd | Climate Chamber IMT-750L | 23070267500002 | Stability Chamber 25C | TSS |  | 2023-11-16 | 2024-11-30 | Annual | LPI-SOP-242 | N/A | N/A | N/A | Andy
System #19 | RM 157 | HPLC | Degasser | G1322A | JP73011954 | Agilent/Hewlett Packard |  |  | 2022-06-14 | 2023-06-15 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #19 | RM 157 | HPLC | QuatPump | G1311A | DE11112925 | Agilent/Hewlett Packard |  |  | 2022-06-14 | 2023-06-15 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #19 | RM 157 | HPLC | ALS | G1329A | DE91603092 | Agilent/Hewlett Packard |  |  | 2022-06-14 | 2023-06-15 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #19 | RM 157 | HPLC | ALS Thermostat | G1330B | DE13204868 | Agilent/Hewlett Packard |  |  | 2022-06-14 | 2023-06-15 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #19 | RM 157 | HPLC | COLCOM | G1316A | DE82207435 | Agilent/Hewlett Packard |  |  | 2022-06-14 | 2023-06-15 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #19 | RM 157 | HPLC | ESA Corona Plus | N/A | CP-0167 | Agilent/Hewlett Packard |  |  | 2022-06-14 | 2023-06-15 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #19 | RM 157 | HPLC | DAD | G1315A | DE82204548 | Agilent/Hewlett Packard |  |  | 2022-06-14 | 2023-06-15 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #19 | RM 157 | HPLC | Agilent Interface | 35900E | CN14090030 | Agilent/Hewlett Packard |  |  | 2022-06-14 | 2023-06-15 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #27 | QC Lab | HPLC | Quartpump | G1311A | DE33224208 | HPLC Agilent 1100 Series |  |  | 2022-06-28 | 2022-06-28 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #27 | QC Lab | HPLC | ALS | G1329A | DE11107313 | HPLC Agilent 1100 Series |  |  | 2022-06-28 | 2022-06-28 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #27 | QC Lab | HPLC | COLCOM | G1316A | DE11122112 | HPLC Agilent 1100 Series |  |  | 2022-06-28 | 2022-06-28 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #27 | QC Lab | HPLC | DAD | G1315A | DE91607038 | HPLC Agilent 1100 Series |  |  | 2022-06-28 | 2022-06-28 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #27 | QC Lab | HPLC | Quartpump | G1311A | DE33224208 | HPLC Agilent 1100 Series |  |  | 2021-06-04 | 2022-06-04 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #27 | QC Lab | HPLC | ALS | G1329A | DE11107313 | HPLC Agilent 1100 Series |  |  | 2021-06-04 | 2022-06-04 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #27 | QC Lab | HPLC | COLCOM | G1316A | DE11122112 | HPLC Agilent 1100 Series |  |  | 2021-06-04 | 2022-06-04 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
System #27 | QC Lab | HPLC | DAD | G1315A | DE91607038 | HPLC Agilent 1100 Series |  |  | 2021-06-04 | 2022-06-04 | annual | LPI-SOP-210 | N/A | N/A | N/A | Neha S.
TC-1 | RM 138 | RPM | Extech | 461920 | Z341019 | Tachometer | TransCat |  | 2023-10-20 | 2024-10-20 | annual |  | N/A | N/A | N/A | David R.
TC-2 | RM 138 | RPM | Extech | 461920 | 201001929 | Tachometer |  |  | 2023-10-20 | 2024-10-20 | annual |  | N/A | N/A | N/A | David R.
Temp-1 | RM 138 | Thermometer | Digi-Sense | 20250-91 | 210429737 | Thermocouple Meter |  |  | 2021-08-27 | 2022-08-27 | annual |  | N/A | N/A | N/A | David R.
Temp-2 | RM 138 | Thermometer | Traceable | 4233 | 210504260 | Thermocouple Meter |  |  |  | 2023-06-15 | annual |  | N/A | N/A | N/A | David R.
Temp-3 | RM 114 | Thermometer | Digi-Sense | 20250-91 | 221220319 | Tpe J/K/T Thermocouple Meter |  |  | 2023-07-25 | 2024-07-25 | Annual |  | N/A | N/A | N/A | aK
Temp-4 | RM 114 | Thermometer | Traceable | 4233 | 230289776 | Type K Digital Thermometer | ilac-MRA |  | 2023-04-25 | 2025-04-25
TME-1 | RM 138 | Chronometer | Traceable | 104294460-55 | 210517159 | Stopwatch | TransCat |  | 2023-06-22 | 2024-06-22 | annual |  | N/A | N/A | N/A | AK
TME-2 | RM 114 | Timer | Traceable | 5004 | 221205140 | Four Channel Alarm Timer | TSS |  | 2024-03-21 | 2025-03-31 | Biennial |  | N/A | N/A | N/A | AK
VAC-1 | RM 138 | Gauge | JB Industries | DV-22N | 0258362 | Digital Vacuum Gauge |  |  |  | 2022-10-11 | annual |  | N/A | N/A | N/A | David R.
WBL-1 | RM 138 | Wobble | Dissolution Accessories | 2104-10F | M2210201555 | Wobble Meter |  |  | 2023-10-24 | 2024-10-24 | annual |  | N/A | N/A | N/A | David R.
| RM 138 | Voltmeter | Klein tools | CL220 | 0621U-A2 | Voltmeter |  |  |  | N/A |  |  | N/A | N/A | N/A | David R.
| RM 145 | Cleanroom Softwall, ValuLine | Terra Universal | 6600-66-VL-0806 | 6600-66-VL-0806P1669363 | ISO 7/ISO 8 Transition Area | TSS |  | 2023-07-18 | 2024-07-31 | annual | LPI-PRO-007 | N/A | N/A | N/A
| RM 145 | Cleanroom Softwall | Clean Air Products | CAP577F-WR- 8x12x8H-E8-S12 | 18395-24375 | ISO 7 Formulation & Fill Area | TSS |  | 2023-07-18 | 2024-07-31 | annual | LPI-PRO-007 | N/A | N/A | N/A
| RM 138 | Gauge | Tuttnauer | N/A | 4130802584 | Autoclave Gauge |  |  | 2022-02-01 | 2023-02-28 | annual |  | N/A | N/A | N/A | David R.
| QC Lab | LAF |  |  | 070570816 | Laminar Air Flow Cabinet

## Instrument Binders
Instrument Binders in QC Lab:
# | Instrument Name: | ID: | Procedure #: | Revision # | Location:
1 | Accusizer | QCA-1 | LPI-SOP-125 | 001 | QC
2 | Analytical Balance | QCAB-1 | LPI-SOP-205 | 003 | QC
3 | Analytical Balance | QCAB-4 | LPI-SOP-205 | 003 | QC
4 | Autoclave Sterilizer | MFG-4 | LPI-SOP-111 | 001 | Rm 119
5 | Biological Safety Cabinet | MFGBSC-1 | LPI-SOP-113 | 001 | Cleanroom
6 | Biological Safety Cabinet | QCBSC-1 | LPI-SOP-113 | 001 | QC
7 | Biological Safety Cabinet | QCBSC-2 | LPI-SOP-113 | 001 | QC
8 | Brookfield LVDV-III+ viscometer_Rheometer | QCV-1 | LPI-SOP-123 | 001 | QC
9 | CapsulCN JTJ-V Semi-Auto Cap Filler | MFGSCF-1 | LPI-SOP-233 | 000 | MFG-2
10 | Comil | MFGCM-1 | LPI-SOP-231 | 000 | MFG-2
11 | Container Closure Integrity (CCI) | QCCCI-1 | LPI-SOP-220 | 001 | QC
12 | DI Water | QCDWS-1 | LPI-SOP-212 | 002 | Washroom
13 | Dissolution System | QCDS-1 | LPI-SOP-131 | 000 | QC
14 | Digital Pressure Gauge 300 PSI | MFG-2 | N/A | N/A | QC
15 | Eye Drop Filling Machine | MFGEDM-1 | LPI-SOP-235 | 000 | MFG_Rm 1
16 | Fourier Transform Infrared Spectroscope | QCFTIR-1 | LPI-SOP-228 | 001 | QC
17 | GC Headspace | QCGC-1 | LPI-SOP-219 | 005 | QC
18 | HIAC | QCH-1 | LPI-SOP-117 | 002 | QC
19 | HPLC Agilent 1100 Series | QCHPLC-1 | LPI-SOP-210 | 003 | QC
20 | HPLC Agilent 1100 Series | QCHPLC-3 | LPI-SOP-210 | 003 | QC
21 | HPLC Agilent 1100 Series | System #19 | LPI-SOP-210 | 003 | QC
22 | HPLC Agilent 1100 Series | System #27 | LPI-SOP-210 | 003 | QC
23 | HPLC Agilent 1100 Series | QCHPLC-2 | LPI-SOP-210 | 003 | QC
24 | HPLC Columns | N/A | N/A | N/A | QC
25 | KF Coulometric Titrator | QCKF-1 | LPI-SOP-211 | 001 | QC
26 | Large-Scale V-Blender | MFGVB-2 | LPI-SOP-234 | 000 | MFG_Rm 1
27 | Malvern MasterSizer | QCMM-1 | LPI-SOP-218 | 002 | QC
28 | Osmometer | QCO-1 | LPI-SOP-124 | 002 | QC
29 | pH Meter | QCpH-2 | LPI-SOP-209 | 001 | QC
30 | pH Meter | MFGpH-1 | LPI-SOP-209 | 001 | MFG_Rm 1
31 | Polarizing Microscope | QCM-1 | LPI-SOP-213 | 001 | QC
32 | Sievers Eclipse Reader | QCED-1 | LPI-SOP-222 | 000 | QC
33 | Single Punch Tablet Press | MFGTP-1 | LPI-SOP-230 | 000 | MFG-2
34 | TOC Analyzer | QCTOC-1 | LPI-SOP-127 | 002 | QC
35 | UPLC System | QCUPLC-1 | LPI-SOP-227 | 002 | HPLC Lab_Rm 157
36 | V-Blender | MFGVB-1 | LPI-SOP-229 | 000 | QC_Rm 146
37 | UV-Vis Spectrometer | QCUV-1 | LPI-SOP-221 | 000 | QC
38 | Volumetric KF Titrator | QCKF-2 | LPI-SOP-232 | 000 | QC
39 | Votrex Capsule Filling | MFGCP-1 | LPI-SOP-223 | 001 | MFG_Rm 1
40 | Weight Sorter (Tablet/Capsule) | MFGWS-1 | LPI-SOP-236 | 000 | MFG_Rm 2
41 | Zetasizer Nano Series | QCZ-1 | LPI-SOP-116 | 006 | QC
42 | Housekeeping Activities Log | N/A | LPI-SOP-015 | 002 | Front Hall Way
43 | Lab Cleaning Log | N/A | LPI-SOP-015 | 002 | Giang/Viet_Rm 106
44 | STB Chambers | STB-1 | LPI-PRO-025 | 001 | Rm 111
45 |  | STB-2
46 |  | STB-3
47 |  | STB-4

## Sheet1
| ID # | Location | Brand | Model # | Serial # | Description | Specifications | TSS Unit?
1 | MFG-4 | RM 119 | Tuttnauer | 3870EA | 2203267 | Tuttnauer 3870 Autoclave |  | YES
2 | MFG-5 | RM 114 | SSI Technologies | MGA-30-A-9V-R | 2004280414 | Pressure Gauge (30psi) |  | YES
3 | TME-2 | RM 114 | Traceable | 5004 | 221205140 | Four Channel Alarm Timer |  | NO
4 | QC-THT-1 | RM 119 | Varian | VK 200 | 4021 | Tablet Hardness Tester |  | NO
5 | MFG-11 | QC Lab | Ashcroft | 733-18R | 2005 | Pressure Gauge | TSS ID: S033 | YES
6 | QCAB-6 | QC Lab | Mettler Toledo | PR1203 | 1122322015 | Analytical Balance | max = 1210g, d=.001g | YES
7 | n/a | R&D Lab | Baker | SG603M | 81573 | Biological Safety Cabinet |  | YES
8 | QCBSC-1 | QC Lab | Labconco | 36208043726 | 70370816 | Purifier Class II BSC |  | YES
9 | QCBSC-2 | QC Lab | NUAIRE | NU-S125-648 | 175849082616 | Biological Safety Cabinet |  | YES
10 | QCAB-7 | QC Lab | Mettler | PM3000 | G80949 | Balance | Max = 3100g, d =0.1g | NO
11 | MFG-2 | RM 1114 | SSI Technologies | MGA-300-A-9V-R | 2003100612 | Pressure Gauge (300psi) |  | YES
12 | QCAB-8 | QC Lab | Mettler Toldeo | AX205DR | 1122212209 | Analytical Balance | Max = 220g, d =0.01mg/0.1mg | NO
| ID # | Location | Type | Brand | Model # | Serial # | Description
| MFG-2 | RM 138 | Gauge | SSI Technologies | MGA-300-A-9V-R | 2003100612 | Pressure Gauge (300psi)
| MFG-10 | QC Lab | Gauge | Ashcroft | DG25 | 17081611003 | Digital Pressure Gauge

## RETIRED
ID # | Location | Type | Brand / Component | Model # | Serial # | Description | Calibration by: | Specifications | Cal. Date | Cal. due Date | Qualification Frequency | OQ/PQ PM SOP | PM Date | PM Date Next | Comment | Owner | Column2